WCHI - High Impact Wall Pad; Attachment Lip Top & Bottom
SECTION 11 66 00 ATHLETIC EQUIPMENT
SECTION 11 66 23.53 WALL PADDING
PART 1
GENERAL 
1.01

WORK INCLUDED

A.

Provide all equipment and materials, and do all work necessary to furnish 



and install the athletic equipment, as indicated on the drawings and as 



specified herein. Athletic equipment shall include, but not be limited to:

1. WCHI - High Impact Wall Pad; Attachment Lip Top & Bottom 
1.02

RELATED WORK

A.

Examine contract documents for requirements that affect work of this 



section.  Other specification divisions and sections that directly relate to
                       
the work of this section may include, but are not limited to:

1. 04 00 00 – Masonry
2. 05 00 00 – Metals
3. 06 00 00 – Wood, Plastics, and Composite

4. 09 00 00 – Finishes

5. 26 00 00 – Electrical
1.03

REFERENCES

A.

Comply with applicable requirements of the following standards. Where 



these standards conflict with other specified requirements, the most 



restrictive requirements shall govern.

1. National Federation of State High School Associations (NFHS)

2. National Collegiate Athletic Association (NCAA)



3. National Basketball Association (NBA)

4. National Football League (NFL)

5. Major League Baseball (MLB)

6. Minor League Baseball (MiLB)

7. ASTM International (ASTM) 

8. American Sports Builders Association (ASBA)


9. Manufacturer’s Data and Recommended Installation Requirements

1.04

SUBMITTALS

A.

Manufacturers Product Data




1.  Provide manufacturers product data prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

B.

Shop Drawings




1.  Provide drawings of the manufacturer’s recommended 




     installation and foundation requirements prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

1.05

QUALITY ASSURANCE

A.

Manufacturers warranties shall pass to the Owner and certification made 



that the product materials meet all applicable grade trademarks or conform 

to industry standards and inspection requirements.

1.06

PRODUCT DELIVERY AND STORAGE

A.

Materials delivered to the site shall be examined for damage or defects in 


shipping. Any defects shall be noted and reported to the Owner’s 



representative. Replacements, if necessary, shall be immediately re-


ordered, so as to minimize any conflict with the construction schedule.  


Sound materials shall be stored above ground under protective cover or 


indoors so as to provide proper protection.
PART 2
PRODUCTS 
2.01

WCHI - High Impact Wall Pad; Attachment Lip Top & Bottom
A. 
BASE: WCHI - High Impact Wall Pad; Attachment Lip Top & Bottom as Manufactured by:
Sportsfield Specialties, Inc.  

P.O. Box 231 

41155 State Highway 10





Delhi, NY 13753   

p. 888-975-3343

www.sportsfield.com
B.

COMPONENTS:  
1. WCHI - High Impact Wall Pad; Attachment Lip Top & Bottom:
a. Indoor Vinyl Encasement:
i. High UV Resistance
ii. Total Weight: 14 oz./yd2 (ASTM D3776)

iii. Construction: 9 x 9, 1000 x 1000 Denier
iv. Grab Tensile: Warp 365 lb/in, Fill 348 lb/in (ASTM D5034)

v. Tongue Tear: Warp 92 lb/in, Fill 83 lb/in (ASTM D2261)
vi. Adhesion: 28 lb/2” (ASTM D751)

vii. Flame Resistance: Class 1 (ASTM E-84), CSFM, NFPA-701

viii. Cold Crack: -4° F (ASTM D2136)
ix. Rot, Mildew and Fungus Resistant: Yes 

x. Various Standard Colors Available
b. 2” Thick High Impact Bonded Foam
i. Density: 6 lb. 

ii. Color: Natural (Varies)

iii. Made of Recycled Material and 100% Recyclable 

c. 7/16” Oriented Strand Board (OSB) Backing
d. Impact Testing; Independently Certified:

i. ASTM F2440-11; 10 lb. x 6.3” Dia. Hemisphere Head Form, 4’ Drop Height:

1. G-max: 123
2. Head Injury Criterion (HIC): 428 
e. Wall Mounting:

i. 1” Vinyl-Encased Attachment Lip at Top and Bottom

ii. Wall Fasteners Not Included (Applications Will Vary)
f. 1-Year Manufacturer’s Limited Product Warranty

g. Optional:

i. Custom High-Resolution Digitally Printed Graphics

ii. Specialized Column Pads Available Upon Request

PART 3 
EXECUTION

3.01

INSTALLATION OF EQUIPMENT

A.  
All protective padding shall be installed as recommended per manufacturer's written instructions and as indicated on the drawings. Installer should have a minimum of five (5) protective padding installations or similar experience in the previous three (3) years.  
    
END OF SECTION
Wall Padding
11 66 23.53
6.25.2021

