TM1540 - Weighted Track Crossing Mat
SECTION 11 68 33.43
Athletic Field Equipment - Track and Field Equipment
PART 1
GENERAL 
1.01

WORK INCLUDED

A.

Provide all equipment and materials, and do all work necessary to furnish 



and install the athletic equipment, as indicated on the drawings and as 



specified herein.  Athletic equipment shall include, but not be limited to:

1. TM1540 - Weighted Track Crossing Mat
1.02

RELATED WORK

A.

Examine contract documents for requirements that affect work of this 



section.  Other specification divisions and sections that directly relate to
                       
the work of this section include, but are not limited to:
1. Division 03 – Concrete; Sections: Cast-in-Place Concrete
2. Division 32 – Exterior Improvements; Sections: Athletic and Recreational Surfacing, Concrete and Asphalt
1.03

REFERENCES

A.

Comply with applicable requirements of the following standards.  Where 



these standards conflict with other specified requirements, the most 



restrictive requirements shall govern.
1. National Federation of State High School Associations (NFHS)
2. National Collegiate Athletic Association (NCAA)

3. International Association of Athletics Federations (IAAF)

4. American Sports Builders Association (ASBA)

5. Manufacturers Data and Recommended Installation Requirements

1.04

SUBMITTALS

A.

Manufacturers Product Data




1.  Provide manufacturers product data prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

B.

Shop Drawings




1.  Provide drawings of the manufacturers recommended 




     installation and foundation requirements prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

1.05

QUALITY ASSURANCE

A.

Manufacturers warranties shall pass to the Owner and certification made 



that the product materials meet all applicable grade trademarks or conform 

to industry standards and inspection requirements.

1.06

PRODUCT DELIVERY AND STORAGE

A.

Materials delivered to the site shall be examined for damage or defects in 


shipping. Any defects shall be noted and reported to the Owners 



representative. Replacements, if necessary, shall be immediately re-


ordered, so as to minimize any conflict with the construction schedule.  


Sound materials shall be stored above ground under protective cover or 


indoors so as to provide proper protection.
PART 2
PRODUCTS 
2.01

TM1540 - Weighted Track Crossing Mat
A. 
BASE:  TM1540 - Weighted Track Crossing Mat as Manufactured and Supplied by:
Sportsfield Specialties, Inc.  

P.O. Box 231 

41155 State Highway 10





Delhi, NY 13753   

p. 888-975-3343
www.sportsfield.com
B.
COMPONENTS:
1. TM1540 - Weighted Track Crossing Mat:
a. Dimensions: 15’W x 40’L
b. 16 oz. Black Non-Woven Polypropylene Geotextile Material
c. Perimeter Ballast: 

i. Heat Welded 18 oz. Outdoor Vinyl Chain Pocket, Various Standard Colors Available

ii. ¼” (0.25”) Galvanized Steel Chain
PART 3 
EXECUTION

3.01

INSTALLATION OF EQUIPMENT

A.  
All Track Crossing Mats shall be installed as recommended per manufacturer's written instructions and as indicated on the drawings.
    END OF SECTION
Athletic Field Equipment
        11 68 33.43 – Track and Field Equipment          12.26.2024

