# PVS1021 Pole Vault Standards, 10’ – 21’ Height Range

# SECTION 11 68 33.43 – Track and Field Equipment

PART 1	GENERAL

1.01		WORK INCLUDED

A.		Provide all equipment and materials, and do all work necessary to furnish

and install the athletic equipment, as indicated on the drawings and as

specified herein.  Athletic equipment shall include, but not be limited to:

- PVS1021 Pole Vault Standards, 10’ – 21’ Height Range

1.02		RELATED WORK

A.		Examine contract documents for requirements that affect work of this

section.  Other specification divisions and sections that directly relate to
                       	the work of this section include, but are not limited to:

1.  Division 03 – Concrete; Sections: Cast-in-Place Concrete

2.  Division 31 – Earthwork; Sections: Excavation and Backfill and
                                        Establishment of Sub-Grade Elevations

3.  Division 32 – Exterior Improvements; Sections: Athletic and
                                                                Recreational Surfacing, Concrete and Asphalt

1.03		REFERENCES

A.		Comply with applicable requirements of the following standards.  Where

these standards conflict with other specified requirements, the most

restrictive requirements shall govern.

1.  National Federation of State High School Associations (NFHS)

2.  World Athletics (Formerly IAAF)

3.  National Collegiate Athletic Association (NCAA)

4.  American Sports Builders Association (ASBA)

5.  Manufacturer’s Data and Recommended Installation

Requirements

1.04		SUBMITTALS

A.		Manufacturers Product Data

1.  Provide manufacturers product data prior to actual field

installation work, for Architects or Owners representatives

review.

B.		Shop Drawings

1.  Provide drawings of the manufacturers recommended

installation and foundation requirements prior to actual field

installation work, for Architects or Owners representatives

review.

1.05		QUALITY ASSURANCE

A.		Manufacturers warranties shall pass to the Owner and certification made

that the product materials meet all applicable grade trademarks or conform 		to industry standards and inspection requirements. The Manufacturer shall  	            have a current American Sports Builder Association (ASBA) Supplier 			Certificate of Distinction designation.

1.06		PRODUCT DELIVERY AND STORAGE

A.		Materials delivered to the site shall be examined for damage or defects in 			shipping.  Any defects shall be noted and reported to the Owners 				representative.  Replacements, if necessary, shall be immediately re-			ordered, so as to minimize any conflict with the construction schedule.  			Sound materials shall be stored above ground under protective cover or 			indoors so as to provide proper protection.

PART 2	PRODUCTS

2.01	PVS1021 Pole Vault Standards, 10’ – 21’ Height Range

- BASE:  PVS1021 Pole Vault Standards, 10’ – 21’ Height Range as manufactured by:

Sportsfield Specialties, Inc.

P.O. Box 231

41155 State Highway 10

Delhi, NY 13753

p. 888-975-3343

f. 607-746-8481

www.sportsfield.com

B.		COMPONENTS:

- (2) Steel Base Assemblies: Each Fabricated of (2) 7-Gauge Steel Sheet Bent Channels Welded to (3) 1/4” x 1” Steel Flat Bar Supports, (2) of Which Contain Mounting Points

  - Allows for up to 32” of Upright Motion Away from the Zero Line of a Pole Vault Box

  - Compatible with PVSFS Pole Vault Standard Forming System (Sold Separately)

- (2) Rolling Base Assemblies: Each Fabricated of (1) 7-Gauge Steel Sheet Base with (8) Wheels, (4) of Which are Adjustable for Tensioning

- (2) Mounting Stubs: Each Fabricated of 7-Gauge Steel Sheet
     	a.   Mounts Uprights to Rolling Base Assemblies

- (2) Uprights: Each Fabricated of a Custom Aluminum Extrusion

- Height: 145.50”

- (2) Riser Assemblies: Each Fabricated of (1) 1.50” Square Aluminum Tube with 3/8” x ¾” Aluminum Mounting Block Welded Near the Bottom

  - Travels Inside of Uprights to Raise and Lower Pins

- (2) Extension Arm Assemblies: Each Fabricated of (1) 1.50” Square Aluminum Tube Pin Mount

- (12) 55mm Rest Pins and (12) 75mm Rest Pins: Fabricated of ½” Aluminum Round Stock

  - 55mm Pins are used for High School Competition and 75mm Pins are used for NCAA competition, Both Size Pins are Included

- Super Durable Powder Coated Finish: Black, Red, and Silver Standard

- Metric and English Measurement Scales

10.  Installation Package Consisting of the Following Components:

- Hardware Kit

- Installation Instructions

# PART 3 	EXECUTION

3.01		INSTALLATION OF EQUIPMENT

A.  	All PVS1021 Pole Vault Standards, 10’ – 21’ Height Range shall be installed as recommended per manufacturer's written instructions and as indicated on the drawings.

END OF SECTION