BSS210PT - 10’H Portable Netting System
SECTION 11 68 33
Athletic Field Equipment
PART 1
GENERAL 
1.01

WORK INCLUDED

A.

Provide all equipment and materials, and do all work necessary to furnish 



and install the athletic equipment, as indicated on the drawings and as 



specified herein.  Athletic equipment shall include, but not be limited to:




1.  BSS210PT - 10’H Portable Netting System
1.02

RELATED WORK

A.

Examine contract documents for requirements that affect work of this 



section.  Other specification sections that directly relate to the work of 



this section include, but are not limited to:

1. Section 32 18 00 – Athletic and Recreational Surfacing
1.03

REFERENCES

A.

Comply with applicable requirements of the following standards.  Where 



these standards conflict with other specified requirements, the most 



restrictive requirements shall govern.




1.  National Federation of State High School Associations (NFHS)




2.  National Collegiate Athletic Association (NCAA)






3.  International Amateur Athletic Association (IAAF)



4.  American Sports Builders Association (ASBA)



5.  Manufacturers Data and Recommended Installation 




     Requirements

1.04

SUBMITTALS

A.

Manufacturers Product Data




1.  Provide manufacturers product data prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

B.

Shop Drawings




1.  Provide drawings of the manufacturers recommended 




     installation and foundation requirements prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

1.05

QUALITY ASSURANCE

A.

Manufacturers warranties shall pass to the Owner and certification made 



that the product materials meet all applicable grade trademarks or conform 

to industry standards and inspection requirements.

1.06

PRODUCT DELIVERY AND STORAGE

A.
Materials delivered to the site shall be examined for damage or defects in shipping. Any defects shall be noted and reported to the Owners representative. Replacements, if necessary, shall be immediately reordered, so as to minimize any conflict with the construction schedule. Sound materials shall be stored above ground under protective cover or indoors so as to provide proper protection.
PART 2
PRODUCTS 
2.01

BSS210PT - 10’H Portable Netting System
A. 

BASE:   BSS210PT - 10’H Portable Netting System as manufactured by:
Sportsfield Specialties Inc.  

P.O. Box 231 

41155 State Highway 10





Delhi, NY 13753   

p. 888-975-3343
www.sportsfieldspecialties.com
B.

COMPONENTS:
1. Upright Posts Fabricated with 2” Schedule 80 Aluminum Pipe (2.375” O.D. x 0.218” Wall)

a. 10’-6”H Above Finish Grade
b. Portable Base Plate:
i. 1/8” (0.125”) Aluminum Formed Base
ii. Wheel Kit:

1. UHMW Poly Wheels 

2. Assembly Hardware
c. Super Durable Powder Coated Finish

i. Color: Black

2. Netting:


a. 10’H x Specified Length


b. 1-3/4" Square Mesh


c. Black #36 Knotted Nylon


d. Sewn 1/4” Dia. Braided Rope Perimeter Binding

3. Accessories:
a. Assembly Hardware
b. Snap Clips for Net Attachment
c. High Visibility Yellow Vinyl Sand Bags
d. Black Vinyl Coated Wire Rope


PART 3 
EXECUTION

3.01

INSTALLATION OF EQUIPMENT

A.  

All athletic equipment shall be installed as recommended by 



manufacturer's written directions, and as indicated on the drawings.


    END OF SECTION
Athletic Equipment
SECTION 11 68 33
6.6.2019

