TNTB36WPB - Tie-Back Tension Netting System with Integrated Wall Pad Backstop, #36 Nylon Netting
SECTION 11 68 33

Athletic Field Equipment
SECTION 11 68 33.33 
Baseball Field Equipment

PART 1
GENERAL  
1.01

WORK INCLUDED

A.

Provide all equipment and materials, and do all work necessary to furnish 



and install the athletic equipment, as indicated on the drawings and as 



specified herein.  Athletic equipment shall include, but not be limited to:

1. TNTB36WPB - Tie-Back Tension Netting System with Integrated Wall Pad Backstop, #36 Nylon Netting
1.02

RELATED WORK

A.

Examine contract documents for requirements that affect work of this 



section. Other specification divisions and sections that directly relate to
                       
the work of this section include, but are not limited to:

1. Division 03 – Concrete; Sections: Cast-in-Place Concrete
2. Division 31 – Earthwork; Sections: Excavation and Backfill and Establishment of Sub-Grade Elevations
3. Division 32 – Exterior Improvements; Sections: Athletic and Recreational Surfacing, Concrete, Asphalt and Site Improvements
1.03

REFERENCES

A.

Comply with applicable requirements of the following standards. Where 



these standards conflict with other specified requirements, the most 



restrictive requirements shall govern.

1. National Federation of State High School Associations (NFHS)
2. National Collegiate Athletic Association (NCAA)
3. International Association of Athletics Federations (IAAF)
4. American Sports Builders Association (ASBA)
5. Manufacturers Data and Recommended Installation Requirements

1.04

SUBMITTALS

A.

Manufacturers Product Data

1. Provide manufacturers product data prior to actual field installation work, for Architects or Owners representatives review.

B.

Shop Drawings

1. Provide drawings of the manufacturers recommended installation and foundation requirements prior to actual field installation work, for Architects or Owners representatives review.

1.05

QUALITY ASSURANCE

A.

Manufacturers warranties shall pass to the Owner and certification made 



that the product materials meet all applicable grade trademarks or conform 

to industry standards and inspection requirements. The Manufacturer shall
                        have a current American Sports Builders Association (ASBA) Supplier
                        Certificate of Distinction designation.
1.06

PRODUCT DELIVERY AND STORAGE

A.

Materials delivered to the site shall be examined for damage or defects in 


shipping. Any defects shall be noted and reported to the Owners 



representative. Replacements, if necessary, shall be immediately re-


ordered, so as to minimize any conflict with the construction schedule.  


Sound materials shall be stored above ground under protective cover or 


indoors so as to provide proper protection.
PART 2
PRODUCTS 
2.01
TNTB36WPB - Tie-Back Tension Netting System with Integrated Wall Pad Backstop, #36 Nylon Netting
A. 
BASE:
  TNTB36WPB - Tie-Back Tension Netting System with Integrated Wall Pad Backstop, #36 Nylon Netting as Manufactured and Supplied by:
Sportsfield Specialties, Inc.  

P.O. Box 231 

41155 State Highway 10





Delhi, NY 13753   

p. 888-975-3343

www.sportsfieldspecialties.com
B.

COMPONENTS:

1. Tie-Back Tension Netting System Upright Support Posts and Pole Structures – Fabricated, Sized and Configured as Required:
a. Height Above Finish Grade as Required
b. Super Durable Powder Coated Black Finish with Enhanced Resistance to UV and Fade
c. Ground Sleeve Embedment Mount
d. Hot Dipped Galvanized Assembly Hardware - Quantities, Sizes and Configurations as Required
2. Tie-Back Tension Netting System Wire Rope Support Structure:
a. Length, Height and Configuration as Required
b. 6 x 25 IWRC Galvanized Wire Rope - 5/8” Diameter Main Horizontal Support, 37,000 lb. Minimum Breaking Strength, 12,333 lb. Minimum Working Load Limit
c. 7 x 19 GAC Galvanized Aircraft Cable - 3/8” Diameter 
d. Tie-Back Support, 14,400 lb. Minimum Breaking Strength, 4,800 lb. Minimum Working Load Limit
e. 7 x 19 GAC Galvanized Aircraft Cable - 1/4” Diameter Vertical and Bottom Horizontal Supports, 7,000 lb. Minimum Breaking Strength, 2,333 lb. Minimum Working Load Limit
f. Hot Dipped Galvanized Attachment and Assembly Hardware - Quantities, Sizes and Configurations as Required

3. Tie-Back Tension Netting System Net and Rope Bound Border:
a. Length, Height and Configuration as Required
b. #36 Twisted Knotted Netting
c. 100% Nylon Construction
d. 2.6 mm (0.1023”) Diameter Twine
e. 87% Open Mesh Area (See-Through Visibility)
f. 13,363 psi Minimum Breaking Strength
g. 1-3/4” (44 mm) Square Mesh Size, 0.0425 lbs. per Square Foot
h. Black Multi-Filament Polypropylene Solid Braid Derby Rope Sewn Binding on Perimeter Edges - 1/4” Diameter, 530 lb. Minimum Breaking Strength
i. UV and Weather Treated
4. Integrated Wall Pad Backstop Intermediate Support Poles:
a. 4.00” Dia. HSS Intermediate Poles with 7 Gauge Steel Welded Mounting Tabs
b. 30” Ground Sleeve Embedment Mount Standard for All Heights
c. Super Durable Powder Coated Black Finish with Enhanced Resistance to UV and Fade
d. Height Above Finish Grade, Configuration, and Quantity as Required
5. Integrated Wall Pad Backstop Rail Support Structure and Mounting Brackets:
a. Quantity and Configuration as Required 
b. 2 ½” SQ. x 11 Gauge Wall Thickness Steel Rail Support Structure
c. 7 Ga. Steel Bracketry for Rail Mounting
d. Super Durable Powder Coated Black Finish with Enhanced Resistance to UV and Fade
6. BaseZone® Wall Pads and Backer Board:
a. Length, Height, and Configuration as Required
b. 18 oz. Exterior Vinyl (Various Colors Available)
c. ¾” Advantech ® Water Resistant Sheathing Panel, Sealed and Stained with Exterior Grade Black Finish
d. Optional Custom Digitally Printed Graphics for Padding
e. Aluminum Z-Clip Style Mounting Brackets, (2) Sets per Pad

f. 11 Ga. Steel U-Bracket for Backer Board Mounting, Super Durable Powder Coated Black Finish with Enhanced Resistance to UV and Fade
7. Included Accessories:
a. Hot Dipped Galvanized Attachment and Assembly Hardware -             
Quantities, Sizes and Configurations as Required
b. Black Rope for Net Binding Attachment to Wire Rope Support Structure – Quantities and Configurations as Required
c. Stamped and Sealed Drawings and Calculations by a Licensed Professional Engineer of Record in the State of Project Location
d. Model Specific Hardware Kit and Installation Instructions
e. One (1) Year Limited Manufacturer’s Product Warranty
PART 3 
EXECUTION

3.01

INSTALLATION OF EQUIPMENT

A.  
All Tension Netting Systems with Integrated Wall Pad Backstop shall be installed as recommended per manufacturer's written instructions and as indicated on the drawings. Concrete anchoring foundations to be determined by others based on local soil conditions and building codes.  Installer should have a minimum of five (5) tension netting system installations or similar experience in the previous three (3) years.


    END OF SECTION
Athletic Field Equipment
11 68 33
7.18.2019

