TNPP36 Pole-to-Pole Tension Ball Safety Netting System with #36 Nylon Netting and Accessories
SECTION 11 68 33
Athletic Field Equipment
(Formally Section 11480)

PART 1
GENERAL  
1.01

WORK INCLUDED

A.

Provide all equipment and materials, and do all work necessary to furnish 



and install the athletic equipment, as indicated on the drawings and as 



specified herein.  Athletic equipment shall include, but not be limited to:

1. TNPP36 Pole-to-Pole Tension Ball Safety Netting System with #36 Nylon Netting and Accessories

1.02

RELATED WORK

A.

Examine contract documents for requirements that affect work of this 



section.  Other specification divisions and sections that directly relate to
                       
the work of this section include, but are not limited to:




1.  Division 03 – Concrete; Sections: Cast-in-Place Concrete 

2.  Division 31 – Earthwork; Sections: Excavation and Backfill and
                                        Establishment of Sub-Grade Elevations




3.  Division 32 – Exterior Improvements; Sections: Athletic and
                                                                Recreational Surfacing, Concrete, Asphalt and
                                                                Site Improvements
1.03

REFERENCES

A.

Comply with applicable requirements of the following standards.  Where 



these standards conflict with other specified requirements, the most 



restrictive requirements shall govern.




1.  National Federation of State High School Associations (NFHS)




2.  National Collegiate Athletic Association (NCAA)






3.  International Association of Athletics Federations (IAAF)
4.  American Sports Builders Association (ASBA)



5.  Manufacturers Data and Recommended Installation 




     Requirements

1.04

SUBMITTALS

A.

Manufacturers Product Data




1.  Provide manufacturers product data prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

B.

Shop Drawings




1.  Provide drawings of the manufacturers recommended 




     installation and foundation requirements prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

1.05

QUALITY ASSURANCE

A.

Manufacturers warranties shall pass to the Owner and certification made 



that the product materials meet all applicable grade trademarks or conform 

to industry standards and inspection requirements. The Manufacturer shall
                        have a current American Sports Builders Association (ASBA) Supplier
                        Certificate of Distinction designation.
1.06

PRODUCT DELIVERY AND STORAGE

A.

Materials delivered to the site shall be examined for damage or defects in 


shipping.  Any defects shall be noted and reported to the Owners 



representative.  Replacements, if necessary, shall be immediately re-


ordered, so as to minimize any conflict with the construction schedule.  


Sound materials shall be stored above ground under protective cover or 


indoors so as to provide proper protection.
PART 2
PRODUCTS 
2.01
TNPP36 Pole-to-Pole Tension Ball Safety Netting System with #36 Nylon Netting and Accessories
A. 
BASE:
  TNPP36 – Pole-to-Pole Tension Ball Safety Netting System with #36 Nylon Netting and Accessories as Manufactured and/or Supplied by:
Sportsfield Specialties, Inc.  

P.O. Box 231 

41155 State Highway 10





Delhi, NY 13753   

p. 888-975-3343

f. 607-746-8481

www.sportsfieldspecialties.com
B.

COMPONENTS:

1. Pole-to-Pole Tension Ball Safety Netting System Upright Support Posts and Pole Structures – Fabricated, Sized and Configured as Required:
a. Height Above Finish Grade as Required


b. Super Durable Powder Coated Black Finish with Enhanced
                                        Resistance to UV and Fade

c. Ground Sleeve, Base Plate or Permanent Embedment Mount


d. Hot Dipped Galvanized Assembly Hardware - Quantities, Sizes
                and Configurations as Required

2.  Pole-to-Pole Tension Ball Safety Netting System Wire Rope Support    
     Structure:


a. Length, Height and Configuration as Required

b. 7 x 19 GAC Galvanized Aircraft Cable - 5/16” Diameter Main
    Horizontal Support, 9,800 lb. Minimum Breaking Strength,
    3,267 lb. Minimum Working Load Limit

c. 7 x 19 GAC Galvanized Aircraft Cable - 1/4” Diameter Vertical
    and Bottom Horizontal Supports, 7,000 lb. Minimum Breaking
    Strength, 2,333 lb. Minimum Working Load Limit 
d. Hot Dipped Galvanized Attachment and Assembly Hardware - 
    Quantities, Sizes and Configurations as Required

3.  Pole-to-Pole Tension Ball Safety Netting System Net and Rope Bound  
                 Border:


a. Length, Height and Configuration as Required


b. #36 Twisted Knotted Netting



c. 100% Nylon Construction

d. 2.6 mm (0.1023”) Diameter Twine


e. 87% Open Mesh Area (See-Through Visibility)
f. 13,363 psi Minimum Breaking Strength 
g. 1-3/4” (44 mm) Square Mesh Size, 0.0425 lbs. per Square Foot

h.  Black Multi-Filament Polypropylene Solid Braid Derby Rope
    Sewn Binding on Perimeter Edges - 1/4” Diameter, 530 lb.
    Minimum Breaking Strength
i. UV and Weather Treated 

4.  Included Accessories:


a. Hot Dipped Galvanized Attachment and Assembly Hardware -             
                                        Quantities, Sizes and Configurations as Required

b. Black Rope for Net Binding Attachment to Wire Rope Support
    Structure – Quantities and Configurations as Required

c. Stamped and Sealed Drawings and Calculations by a Licensed

Professional Engineer of Record in the State of Project Location
d. Model Specific Hardware Kit and Installation Instructions
e. One (1) Year Limited Manufacturer’s Product Warranty
PART 3 
EXECUTION

3.01

INSTALLATION OF EQUIPMENT

A.  
All TNPP36 Pole-to-Pole Tension Ball Safety Netting Systems with #36 Nylon Netting and Accessories shall be installed as recommended per manufacturer's written instructions and as indicated on the drawings.  Concrete anchoring foundations to be determined by others based on local soil conditions and building codes.  Installer should have a minimum of five (5) ball safety netting system installations or similar experience in the previous three (3) years.


    END OF SECTION
Athletic Field Equipment
11 68 33
01.01.19

