RG44H - 44’ Hinged Rugby Goal
SECTION 11 68 33
  
Athletic Field Equipment
SECTION 11 68 33.13 
Football Field Equipment

SECTION 11 68 33.23 
Soccer and Field Hockey Equipment

PART 1
GENERAL 
1.01

WORK INCLUDED

A.

Provide all equipment and materials, and do all work necessary to furnish 



and install the athletic equipment, as indicated on the drawings and as 



specified herein.  Athletic equipment shall include, but not be limited to:




1.  RG44H - 44’ Hinged Rugby Goal
1.02

RELATED WORK

A.

Examine contract documents for requirements that affect work of this 



section.  Other specification divisions and sections that directly relate to
                       
the work of this section include, but are not limited to:




1.  Division 03 – Concrete; Sections: Cast-in-Place Concrete 

2.  Division 31 – Earthwork; Sections: Excavation and Backfill and
                                        Establishment of Sub-Grade Elevations




3.  Division 32 – Exterior Improvements; Sections: Athletic and
                                                                Recreational Surfacing, Concrete and Asphalt

1.03

REFERENCES

A.

Comply with applicable requirements of the following standards.  Where 



these standards conflict with other specified requirements, the most 



restrictive requirements shall govern.




1.  National Federation of State High School Associations (NFHS)




2.  National Collegiate Athletic Association (NCAA)






3.  International Association of Athletics Federations (IAAF)

4.  American Sports Builders Association (ASBA)

5.  International Hockey Federation (FIH)

6.  International Rugby Board (IRB)



7.  Manufacturers Data and Recommended Installation 




     Requirements

1.04

SUBMITTALS

A.

Manufacturers Product Data




1.  Provide manufacturers product data prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

B.

Shop Drawings




1.  Provide drawings of the manufacturers recommended 




     installation and foundation requirements prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

1.05

QUALITY ASSURANCE

A.

Manufacturers warranties shall pass to the Owner and certification made 



that the product materials meet all applicable grade trademarks or conform 

to industry standards and inspection requirements.

1.06

PRODUCT DELIVERY AND STORAGE

A.

Materials delivered to the site shall be examined for damage or defects in 


shipping.  Any defects shall be noted and reported to the Owners 



representative.  Replacements, if necessary, shall be immediately re-


ordered, so as to minimize any conflict with the construction schedule.  


Sound materials shall be stored above ground under protective cover or 


indoors so as to provide proper protection.
PART 2
PRODUCTS 
2.01

RG44H - 44’ Hinged Rugby Goal
A. 
BASE:  RG44H - 44’ Hinged Rugby Goal as Manufactured and Supplied by:
Sportsfield Specialties, Inc.  

P.O. Box 231 

41155 State Highway 10





Delhi, NY 13753   

p. 888-975-3343

www.sportsfieldspecialties.com
B.
COMPONENTS:  
1. RG44H – 44’ Hinged Rugby Goal:
a. Crossbar: 3.5” Schedule 40 Aluminum Pipe (4” O.D.), 18.373’L (5.6m), 9’-10” 3m Above Finish Grade
b. Uprights: 3.5” Schedule 40 Aluminum Pipe (4” O.D.) and 3” Schedule 40 Aluminum Pipe (3.5” O.D.), ¾” Aluminum Base Plate with Gusset Reinforcement
c. Overall Height: 44’ Above Finish Grade
d. ¾” Steel Hinge Plates and Piano Hinge Assembly

e. Base Plate Mounting Kit and Anchor Bolts
f. Super Durable Powder Coated White Finish
a. RGAF Access Frame Kit: 1/8” (0.125”) Aluminum Construction with 1” PVC Drain Stub, Includes Two (2) Half Moon Filler Plugs
g. Model Specific Hardware Kit and Installation Instructions

2. RGAF – Access Frame Kit: 1/8” (0.125”) Aluminum Construction with 1” PVC Drain Stub, Includes Two (2) Half Moon Filler Plugs, Optional Full Size Filler Plug Sold Separately, Use RGAFIT for Synthetic Turf Field Applications and RGAFNG for Natural Grass Field Applications
3. RGPPSDG – Square Rugby Goal Post Pads with Digital Graphics:

a. 18 oz. Vinyl with Polyester Scrim and Vertically Sewn in Hook and Loop Securement, 6’ in Height 

b. Square, Fully Encased Vinyl Polyurethane Foam Core
c. 14” x 14” Outside Dimensions, 4.5” Inside Diameter

d. Various Standard Vinyl Colors Available
e. High Resolution Digitally Printed Graphics 
PART 3 
EXECUTION

3.01

INSTALLATION OF EQUIPMENT

A.  
All Rugby Goals shall be installed as recommended per manufacturer's written instructions and as indicated on the drawings.  Concrete anchoring foundations to be determined by others based on local soil conditions and building codes.  Installer should have a minimum of five (5) goal line equipment installations or similar experience in the previous three (3) years.
    END OF SECTION
Athletic Field Equipment
11 68 33
6.6.2019

