GPH20HS - H-Style High School Football Goal Post with 20’ Uprights
SECTION 11 68 33
  
Athletic Field Equipment
SECTION 11 68 33.13 
Football Field Equipment

SECTION 11 68 33.23 
Soccer and Field Hockey Equipment

(Formally Section 11480)

PART 1
GENERAL 
1.01

WORK INCLUDED

A.

Provide all equipment and materials, and do all work necessary to furnish 



and install the athletic equipment, as indicated on the drawings and as 



specified herein.  Athletic equipment shall include, but not be limited to:

1. GPH20HS - H-Style High School Football Goal Post with 20’ Uprights
1.02

RELATED WORK

A.

Examine contract documents for requirements that affect work of this 



section.  Other specification divisions and sections that directly relate to
                       
the work of this section include, but are not limited to:




1.  Division 03 – Concrete; Sections: Cast-in-Place Concrete 

2.  Division 31 – Earthwork; Sections: Excavation and Backfill and
                                        Establishment of Sub-Grade Elevations




3.  Division 32 – Exterior Improvements; Sections: Athletic and
                                                                Recreational Surfacing, Concrete and Asphalt

1.03

REFERENCES

A.

Comply with applicable requirements of the following standards.  Where 



these standards conflict with other specified requirements, the most 



restrictive requirements shall govern.




1.  National Federation of State High School Associations (NFHS)




2.  National Collegiate Athletic Association (NCAA)






3.  International Association of Athletics Federations (IAAF)

4.  American Sports Builders Association (ASBA)

5.  International Hockey Federation (FIH)

6.  International Rugby Board (IRB)



7.  Manufacturers Data and Recommended Installation 




     Requirements

1.04

SUBMITTALS

A.

Manufacturers Product Data




1.  Provide manufacturers product data prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

B.

Shop Drawings




1.  Provide drawings of the manufacturers recommended 




     installation and foundation requirements prior to actual field 




     installation work, for Architects or Owners representatives 




     review.

1.05

QUALITY ASSURANCE

A.

Manufacturers warranties shall pass to the Owner and certification made 



that the product materials meet all applicable grade trademarks or conform 

to industry standards and inspection requirements.

1.06

PRODUCT DELIVERY AND STORAGE

A.
Materials delivered to the site shall be examined for damage or defects in shipping. Any defects shall be noted and reported to the Owners representative. Replacements, if necessary, shall be immediately reordered to minimize any conflict with the construction schedule. Sound materials shall be stored above ground under protective cover or indoors to provide proper protection.
PART 2
PRODUCTS 
2.01
GPH20HS - H-Style High School Football Goal Post with 20’ Uprights
A. 
BASE:  GPH20HS - H-Style High School Football Goal Post with 20’ Uprights as Manufactured and Supplied by:
Sportsfield Specialties, Inc.  

P.O. Box 231 

41155 State Highway 10





Delhi, NY 13753   

p. 888-975-3343
www.sportsfieldspecialties.com
B.
COMPONENTS:
1. GPH20HS - H-Style High School Football Goal Post with 20’ Uprights:
a. Height: 30’ Above Finish Grade
b. Inside Dimensions: 23’-4” Between Football Uprights (High School)
c. Football Crossbar: 4” Aluminum Tube (4” O.D. x 0.125” Wall), 23’-4”L (High School), 10’ Above Finish Grade
d. Football Uprights: 3.5” Schedule 40 Aluminum Pipe (4” O.D. x 0.226” Wall), 20’ Above Football Goal Post Crossbar
e. Super Durable Powder Coated Finish

i. Color: Yellow or White

f. Ground Sleeve: 4.3” O.D., 4.1” I.D. Aluminum Tube with Welded Base Plate, 4’L (48”L)
g. Assembly Hardware
h. Optional:
i. Access Frame Kit: 1/8” (0.125”) Aluminum Construction with 1” PVC Drain Stub, Includes Two (2) Half Moon Filler Plugs, Optional Full Size Filler Plug Sold Separately, Use RGAFIT for Synthetic Turf Field Applications and RGAFNG for Natural Grass Field Applications
PART 3 
EXECUTION

3.01

INSTALLATION OF EQUIPMENT

A.  
All Football Goal Posts shall be installed as recommended per manufacturer's written instructions and as indicated on the drawings.  Concrete anchoring foundations to be determined by others based on local soil conditions and building codes. Installer should have a minimum of five (5) Football Goal Post installations or similar experience in the previous three (3) years.
END OF SECTION
Athletic Field Equipment
11 68 33
6.6.2019

